
                                                    

FHA2 Series Optical Variable Attenuator

[image: image1.jpg]i





Fig.1: FHA2 Series Optical Variable Attenuator

Description:
FHA2 Series Optical Variable Attenuator is a compact and portable instrument widely used in fiber link certification and routine maintenance as well as in lab environment.

Features:

1. Low insertion loss, wide attenuation range

2. Two attenuation steps available:1dB, 0.05dB

3. Reference function

4. Presetting values to save frequently used values

Application:

1. Maintenance for telecom system

2. Maintenance for CATV System

3. Fiber optic transmission system & Test lab

Specification:

	Model
	
	FHA2S02

	Attenuation Range
	
	3~60dB

	Fiber Type
	SMF 9/125um

	Calibrated Wavelength
	1310nm/1550nm

	Linearity
	≤0.3dB

	Accuracy
	0.2dB@0~30dB

1.0dB@30~60dB

2.0dB@60~80dB
	0.2dB@0~20dB

0.5dB@20~50dB

1.0dB@50~60dB

	Insertion Loss
	<3dB

	Return Loss
	>50dB (PC)

	Max Input Power
	+24dBm

	Power Supply
	2pcs*AA 1.2V Ni-MH batteries

	Connector
	Interchangeable FC/PC, SC/PC connectors.

(FC/APC, SC/APC are available on request)

	Operating Temperature
	-10°C to +50°C

	Storage Temperature
	-20°C to +60℃

	Relative Humidity 
	0%~95% (non-condensing)

	Dimension
	160mmL*76mmW*45mmH

	Net Weight
	360g (battery included)

	Standard Accessories:

	2*FC/PC adapters, 2*SC/PC adapters, 2*rechargeable batteries, AC/DC adapter, 3*ceramic sleeves, carrying bag, user manual, test report

	Optional Accessories:

	2*ST adapters (model: N000500);

male FC to female LC adapter for LC connector (model: HD078)




